## Introduction
Introduction-Device or Medical/Surgical Supply including Health Information Technology
The tables in this workbook present data on Device or Medical/Surgical Supply including Health Information Technology (HIT) reports submitted by AHRQ-listed Patient Safety Organizations (PSOs) to the Network of Patient Safety Databases (NPSD) through December 31, 2022. The tables include the relative frequencies by type of device, by device defect, failure or use error, and by the extent of residual patient harm. Each worksheet presents the aggregated data for dashboards in this module. Note that the aggregated data in this worksheet may include reports that were not included on the dashboard to avoid risk of disclosure. See the Technical Notes on that dashboard for more information about the data. To access the webpage containing this information, please visit:
https://www.ahrq.gov/npsd/data/dashboard/devices.html
Table of Contents
Below are the names of each dashboard found within the Device or Medical/Surgical Supply including HIT module matched to the name of the respective worksheet within this workbook.Each worksheet presents the aggregated data for the figure found in the matching dashboard. Note that the aggregated data in this worksheet may include reports that were not included on the dashboard to avoid risk of disclosure.
Dashboard Name | Worksheet Name
Type of Device | Device_1
Type of Device by Extent of Harm | Device_2
Device Event Description | Device_3
Device Event Description by Extent of Harm | Device_4
HIT Device Related to Event or Unsafe Condition | Device_5
HIT Device Related to Event or Unsafe Condition by Extent of Harm | Device_6

## Device_1
Device_1: Type of Device
Type of Device | Percentage | Frequency | Total
Medical equipment (e.g., walker, hearing aid) | 85.57% | 32921 | 38472
Medical/surgical supply, including disposable product, (e.g., incontinence supply) | 7.309% | 2812 | 38472
HIT device | 2.997% | 1153 | 38472
Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 4.122% | 1586 | 38472

## Device_2
Device_2: Type of Device by Extent of Harm
Type of Device | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Medical equipment (e.g., walker, hearing aid) | 92.86% | 6667 | 7.145% | 513 | 9435
Medical/surgical supply, including disposable product, (e.g., incontinence supply) | 79.24% | 1042 | 20.76% | 273 | 9435
HIT device | 91.32% | 421 | 8.677% | 40 | 9435
Implantable device (i.e., device intended to be inserted into, and remain permanently in, tissue) | 82.88% | 397 | 17.12% | 82 | 9435
NOTE: The 'No Harm Percentage' and 'Harm Percentage' cells are calculated as the percentage of all incidents within the Type of Device rows.

## Device_3
Device_3: Device Event Description
Device Event Description | Percentage | Frequency | Total
Unknown | 57.09% | 19960 | 34962
Device defect or failure, including HIT | 30.12% | 10531 | 34962
Use error | 8.935% | 3124 | 34962
Combination or interaction of device defect or failure and use error | 3.853% | 1347 | 34962

## Device_4
Device_4: Device Event Description by Extent of Harm
Device Event Description | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Device defect or failure, including HIT | 90.92% | 2664 | 9.078% | 266 | 8236
Unknown | 93.41% | 3329 | 6.594% | 235 | 8236
Use error | 83.62% | 1016 | 16.38% | 199 | 8236
Combination or interaction of device defect or failure and use error | 82.54% | 435 | 17.46% | 92 | 8236
NOTE: The 'No Harm Percentage' and 'Harm Percentage' cells are calculated as the percentage of all incidents within the Device Event Descriptions.

## Device_5
Device_5: HIT Device Related to Event or Unsafe Condition
HIT Device | Percentage | Frequency | Total
Electronic health record (EHR) or component of EHR | 35.35% | 181 | 512
Human interface device (e.g., keyboard, mouse, touchscreen, speech recognition system, monitor/display, printer) | 23.44% | 120 | 512
Administrative/billing or practice management system | 8.594% | 44 | 512
Radiology/diagnostic imaging system, including picture archiving and communications system (PACS) | 8.984% | 46 | 512
Automated dispensing system | 5.469% | 28 | 512
Laboratory information system (LIS), including microbiology and pathology systems | 1.758% | 9 | 512
Other type of HIT device | 16.41% | 84 | 512
NOTE: The 'Percentage' cells are calculated as the percentage of all incidents within the 'Frequency' column. The percentage column may sum to less than 100 percent due to rounding and suppression.
* Data have been suppressed to meet nonidentification requirements.

## Device_6
Device_6: HIT Device Related to Event or Unsafe Condition by Extent of Harm
HIT Device | No Harm Percentage | No Harm Frequency | Harm Percentage | Harm Frequency | Total
Electronic health record (EHR) or component of EHR | 87.16% | 95 | 12.84% | 14 | 267
Human interface device (e.g., keyboard, mouse, touchscreen, speech recognition system, monitor/display, printer) | * | 45 | * | * | 267
Other type of HIT device | * | 37 | * | * | 267
Radiology/diagnostic imaging system, including picture archiving and communications system (PACS) | 100% | 25 | 0% | 0 | 267
Administrative/billing or practice management system | * | * | * | 0 | 267
Laboratory information system (LIS), including microbiology and pathology systems | * | * | * | 0 | 267
Automated dispensing system | * | 14 | * | * | 267
NOTE: The 'No Harm Percentage' and 'Harm Percentage' cells are calculated as the percentage of all incidents within the HIT Device rows. The percentage columns may sum to less than 100 percent due to rounding and suppression.
* Data have been suppressed to meet nonidentification requirements.